Tannin Assay Agar Recipe (Radial Diffusion Assay)

STEP 1

To make 100mL of buffer A:

- Add 0.29 mL of acetic acid to 100mL of deionized water while stirring

- Add 1mg of ascorbic acid to the solution while stirring

- Check pH and adjust to pH 5.0 if necessary with HCl and NaOH

STEP 2

To make protein agar solution:

- Dissolve 1.00g of agarose in 100 mL of buffer A with stirring and heat to boiling.

- Cool solution to 50°C in a water bath with stirring

- At 50°C, add 0.1g of BSA while stirring

*Note that once the solution starts to cool it will harden as the gel forms.

Calculations:

Buffer A: 50mM acetic acid + 60μM ascorbic acid (in water)

- 50mM acetic acid = 2.86ml acetic acid/1 L H2O = .29mL acetic acid/100 mL H2O

- 60 μM ascorbic acid= .01g ascorbic acid/1 L H2O = 1mg/100 mL H2O

| Date Made | Initials | Solution Needed (mL) | Acetic Acid (mL) | DI Water (mL) | Ascorbic Acid (mg) | Final pH | Agarose (g) | BSA (g) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |